## Slide 1: Predictive Maintenance in Solar Power Systems
Introduction
  Solar power plants play and crucial role in the transition towards clean energy.
  Importance of maintenance for efficiency and longevity.
  The introduction of AI-Driven predictive maintenance offers a solution that can help identify potential failures before they happen.

## Slide 2: Key Components of Predictive Maintenance
Sensors and IOT device
Data collection monitoring system.
Machine learning and AI models
Cloud computing and data storage
However, maintaining large solar forms is challenging, as breakdowns or inefficiencies can significantly reduce power output and cause financial losses.
Traditionally, maintenance schedules are set based on time intervals, which may lead to over-maintenance or under maintenance of equipment .

## Slide 3: Technologies Used in predictive Maintenance
Thermal imaging and infrared cameras
Drone-based inspections
Smart meters and monitoring systems
AI-driven failure prediction algorithms
Provided with sensor data from solar panel, including temperature, voltage, current, and historical maintenance records.

## Slide 4: Case Studies and Real-World Applications
Example of companies using predictive maintenance
Improvements in efficiency and cost savings
Challenges and lessons learned
Real – Time example:
A solar farm in California experienced frequent inverted failures, leading to a 15% reduction in power output during peak hours.
The predictive model reduced 30% energy, increased energy production and lower maintenance.

## Slide 5: CONCLUSION
Predictive maintenance in solar power system is improving efficiency, reducing costs, and extending equipment life spam.
By leveraging IOT , AI and big data, solar farms can transition from reactive to pro active maintenance, ensuring maximum energy output and sustainability.
While challenges exist, advancements in technology will continue to refine PDM strategies, making solar energy even more reliable and cost –effective in the future.